README file generated by SUBMIT 1.2 32-bit on 02-13-2014 at 17:23:07.

This file is best viewed in an ASCII editor such as Notepad using a monospaced font.

Site and variable information were obtained from the station processing INI file.

All data in the data file are reported as hour ending, i.e. 1300 is 1200 to 1300.

This README.DOC file name:      dhs2013.doc

Data file name it describes:    dhs2013.dat

Site name:                      Desert Hot Springs (data subject to change)

Processing INI file name:       dhs.ini

Start month and year:           01 2013

End month and year:             12 2013

Validation level:               B

Data are provided in a comma delimited format with one record per hour.

A description of the fields in each record follows:

Field   Variable Name                           Units

---------------------------------------------------------

1   Year                                    NA

2   Day                                     NA

3   Hour-Minute                             NA

4   Battery Voltage                         volts

5   Scalar Wind Speed                       mph

6   Unit Vector Wind Direction              degrees

7   Sigma Theta (Yamartino)                 degrees

8   Running 3-Second Gust                   mph

9   Maximum Instantaneous Gust              mph

10   Vector Wind Speed                       mph

11   Vector Wind Direction                   degrees

12   Sigma Theta (Campbell)                  degrees

13   Panel Temperature                       deg F

14   Program Signature                       NA

---------------------------------------------------------

Values less than -900 describe any missing data.  A summary of the codes follows:

Code   Description

---------------------------------------------------------

-910  No data collected - system not set up

-920  Instrument Malfunction

-930  Data Logger Malfunction

-940  Calibration

-950  Audit

-960  Maintenance

-970  Data invalid - Does not meet consistency or an obvious problem

-971  Local Interference

-980  Power failure

-990  Reserved for future descriptor

---------------------------------------------------------