README file generated by SUBMIT 1.2 32-bit on 07-02-2013 at 11:27:47.

This file is best viewed in an ASCII editor such as Notepad using a monospaced font.

Site and variable information were obtained from the station processing INI file.

All data in the data file are reported as hour ending, i.e. 1300 is 1200 to 1300.

This README.DOC file name:      mov2013.doc

Data file name it describes:    mov2013.dat

Site name:                      Moreno Valley (data subject to change)

Processing INI file name:       mov.ini

Start month and year:           01 2013

End month and year:             05 2013

Validation level:               B

Data are provided in a comma delimited format with one record per hour.

A description of the fields in each record follows:

Field   Variable Name                           Units

---------------------------------------------------------

1   Averaging Interval                      minutes

2   Year                                    NA

3   Day                                     NA

4   Hour-Minute                             NA

5   Record Number                           NA

6   Site Number                             NA

7   Logger Voltage                          volts

8   Scalar Wind Speed                       mph

9   Unit Vector Wind Direction              degrees

10   Sigma Theta (Yamartino)                 degrees

11   Scalar Wind Speed                       mph

12   Vector Wind Speed                       m/s

13   Vector Wind Direction                   degrees

14   Sigma Theta (Campbell)                  degrees

15   Running 3-s Wind Gust                   mph

16   Ambient Temperature                     deg C

17   Ambient Relative Humidity               percent

18   Solar Radiation - K&Z                   w/m2

19   Solar Radiation - Licor                 w/m2

20   UV Radiation                            w/m2

21   Ambient Pressure                        millibars

22   Shelter Temperature                     deg C

23   Aspirator Current                       ma

---------------------------------------------------------

Values less than -900 describe any missing data.  A summary of the codes follows:

Code   Description

---------------------------------------------------------

-910  No data collected - system not set up

-920  Instrument Malfunction

-930  Data Logger Malfunction

-940  Calibration

-941  Zero/Precision/Span

-950  Audit

-960  Maintenance

-970  Data invalid - Does not meet consistency or an obvious problem

-971  Local Interference

-980  Power failure

-990  Reserved for future descriptor

---------------------------------------------------------